中国合格评定国家认可委员会

认 可 证 书 附 件

(No. CNAS L0503)

名称: 杭州中检电气研究院有限公司

地址：浙江省杭州市沈半路267号

签发日期：2010年08月12日         有效期至：2013年08月11日

附件1  认可的检测能力范围

| 序号 | 检测对象 | 项目/参数 | 领域 代码 | 检测标准（方法）名称及编号 （含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |  |
| 1 | 低压开关设备和控制设备 | 部分 项目 | 0503 | GB14048.1-2006 IEC60947-1:2001,MOD 低压开关设备和控制设备 第1部分：总则 EN 60947-1:2004 低压开关设备和控制设备 第1部分：总则 | 不做：DC440V以上,10A以上的产品；交流420V 18kA以上短路电流试验；20kA以上的短时耐受电流试验，防护等级IP66以上，附录M， EMC。 |  |
| 2 | 低压断路器 | 部分 项目 | 0503 | GB14048.2-2008 IEC60947-2:2006,IDT 低压开关设备和控制设备 第2部分：断路器 EN 60947-2:2006 低压开关设备和控制设备 第2部分：断路器 | 不做：直流断路器；交流420V 18kA以上的短路能力、脱扣特性20kA 以上，EMC、附录F。 |  |
| 3 | 低压开关、隔离器、隔离开关以及熔断器组合电器 | 部分项目 | 0503 | GB14048.3-2008 IEC60947-3:2005,IDT 低压开关设备和控制设备 第3部分：开关、隔离器、隔离开关以及熔断器组合电器EN60947-3:1999+A2:2005 低压开关设备和控制设备 第3部分：开关、隔离器、隔离开关以及熔断器组合电器 | 不做：DC440V以上，10A以上的产品；交流420V 18kA以上短路电流试验；20kA以上的短时耐受电流试验和EMC。 |  |
| 4 | 低压机电式接触器和电动机起动器 | 部分 项目 | 0503 | GB14048.4－2003 IEC60947-4-1:2000,IDT 低压开关设备和控制设备 机电式接触器和电动机起动器 EN60947-4-1:2001 低压开关设备和控制设备 机电式接触器和电动机起动器 | 不做：DC440V以上，10A以上的产品；交流额定电流250A以上的产品； EMC。 |  |
| 5 | 低压控制电路电器和开关元件 机电式控制电路电器 | 部分项目 | 0503 | GB14048.5－2008 IEC60947-5-1:2003,MOD 低压开关设备和控制设备 第5-1部分：控制电路电器和开关元件 机电式控制电路电器 EN60947-5-1:2004 低压开关设备和控制设备 第5-1部分：控制电路电器和开关元件 机电式控制电路电器 | 不做：DC440V以上,10A以上的产品；EMC；指示塔类产品的冲击和振动，防护等级IP66以上。 |  |
| 6 | 接触器和电动机起动器 交流半导体电动机控制器（含软起动器） | 部分 项目 | 0503 | GB14048.6-2008 IEC60947-4-2:2002:IDT 低压开关设备和控制设备 第4-2部分：接触器和电动机起动器 交流半导体电动机控制器和起动器（含软起动器） | 不做：交流420V以上，模拟负载下产品额定电流Ie大于250A，电动机负载2.2kW以上和EMC。 |  |
| 7 | 铜导体的接线端子排 | 全部 项目 | 0503 | GB/T14048.7-2006 IEC60947-7-1:2002,MOD 低压开关设备和控制设备 第7-1部分：辅助器件 铜导体的接线端子排 |  |  |
| 8 | 铜导体的保护导体接线端子排 | 全部 项目 | 0503 | GB/T14048.8-2006 IEC60947-7-2:2002,MOD 低压开关设备和控制设备 第7-2部分：辅助器件 铜导体的保护导体接线端子排 |  |  |
| 9 | 低压多功能电器 转换开关电器 | 部分项目 | 0503 | GB/T14048.11－2008 IEC60947-6-1:2005,MOD 低压开关设备和控制设备 第6-1部分：多功能电器 转换开关电器 | 不做：DC440V以上,10A以上的产品；交流420V、18kA以上的短路能力；18kA以上的短时耐受电流；EMC；装有备用电源电压和频率可用性监测电路的产品。 |  |
| 10 | 家用及类似场所用过电流保护断路器 用于交流的断路器 | 全部 项目 | 0503 | GB10963.1-2005 IEC60898-1:2002,IDT 电气附件 家用及类似场所用过电流保护断路器 第1部分：用于交流的断路器 EN60898-1:2003/ 电气附件 家用及类似场所用过电流保护断路器 第1部分：用于交流的断路器 | 不做： 420V 18kA以上的交流短路能力。 |  |
| 11 | 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB） | 部分 项目 | 0503 | GB16916.1-2003 IEC61008-1:1996,MOD 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB） 第1部分：一般规则 GB16916.21-2008 IEC 61008-2-1-1990，IDT 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB）第21部分：一般规则对动作功能与电源电压无关的RCCB的适用性 GB16916.22-2008 IEC 61008-2-2-1990，IDT 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB）第22部分：一般规则对动作功能与电源电压有关的RCCB的适用性 EN 61008-1-2004 AMD.11:2007 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB） 第1部分：一般规则 EN 61008-2-1-1994 A11:1998 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB）第21部分：一般规则对动作功能与电源电压无关的RCCB的适用性 EN 61008-2-2-1994 A11:1998 家用和类似用途的不带过电流保护的剩余电流动作断路器（RCCB）第22部分：一般规则对动作功能与电源电压有关的RCCB的适用性 | 不做： 420V 18kA以上的交流短路能力和EMC。 |  |
| 12 | 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO） | 部分 项目 | 0503 | GB16917.1-2003 IEC61009-1:1996,MOD 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO） 第1部分：一般规则 GB16917.21-2008 IEC61009-2-1:1991,IDT 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO）第21部分：一般规则对动作功能与电源电压无关的RCBO的适用性 GB16917.22-2008 IEC61009-2-2:1991,IDT 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO）第22部分：一般规则对动作功能与电源电压有关的RCBO的适用性 EN 61009-1-2004 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO） 第1部分：一般规则 EN 61009-2-1-1994 A11:1998 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO）第21部分：一般规则对动作功能与电源电压无关的RCBO的适用性 EN 61009-2-2-1994 A11:1998 家用和类似用途的带过电流保护的剩余电流动作断路器（RCBO）第22部分：一般规则对动作功能与电源电压有关的RCBO的适用性 | 不做：交流420V 18kA以上的短路能力和EMC。 |  |
| 13 | 剩余电流动作保护器 | 部分 项目 | 0503 | GB/Z 6829-2008 剩余电流动作保护电器的一般要求 | 不做 EMC。 |  |
| 14 | 剩余电流动作继电器 | 部分 项目 | 0503 | GB/T22387-2008 剩余电流动作继电器JB/T8756-2008剩余电流动作继电器 | 不做：交流420V 18kA以上的短路能力、EMC。 |  |
| 15 | 设备用断路器 | 部分 项目 | 0503 | GB17701-2008 IEC60934:2007,IDT 设备用断路器 EN 60934-2001 AMD.1:2007 设备用断路器 | 不做：直流产品； 420V 18kA以上的交流额定短路能力。 |  |
| 16 | 家用及类似用途机电式接触器 | 全部 项目 | 0503 | GB17885-2009 IEC61095:2000,MOD 家用及类似用途机电式接触器 |  |  |
| 17 | 低压配电板 | 全部 项目 | 0503 | GB7251.1-2005 低压成套开关设备和控制设备 第1部分：型式试验和部分型式试验成套设备 GB7251.3-2006 低压成套开关设备和控制设备 第3部分：对非专业人员可进入场地的低压成套开关设备和控制设备--配电板的特殊要求 | 不做：交流420V 18kA、1s以上的短路耐受强度。 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(No. CNAS L0503)

NAME: Hangzhou Sino-Test Electric Academe Co., Ltd.

ADDRESS：No.267, Shenban Road, Hangzhou, Zhejiang, China

Date of Issue: 2010-08-12                        Date of Expiry: 2013-08-11

APPENDIX 1   SCOPE OF ACCREDITED TESTING

| № | Test Object | Item/Parameter | Code of Field | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |  |
| 1 | Low-voltage switchgear and controlgear | Partial items | 0503 | GB14048.1-2006 IEC60947-1:2001,MOD Low-voltage switchgear and controlgear—Part1:General rules EN 60947-1:2004 Low-voltage switchgear and controlgear—Part1:General rules | Except for： D.C. products of above 10A or above DC440V，A.C. Short-circuit current test of above 18kA and AC420V， The short-time withstand current test of above 20kA ，Degree of protect above IP66,annex M, EMC. |  |
| 2 | Low-voltage Circuit breakers | Partial items | 0503 | Gb14048.2-2008 IEC60947-2:2006,IDT Low-voltage switchgear and controlgear—Part2: Circuit breakers EN 60947-2:2006 Low-voltage switchgear and controlgear—Part2: Circuit breakers | Except for： D.C Circuit breakers ;A.C. Short-circuit current test of above 18kA and AC420V，The tripping characteristics current above 20kA,EMC Appendix F |  |
| 3 | Switches,disconnectors,switch-disconnectors and fuse-combination units | Partial items | 0503 | GB14048.3-2008 IEC60947-3:2005,IDT Low-voltage switchgear and controlgear—Part3:Switches,disconnectors,switch-disconnectors and fuse-combination units EN60947-3:1999+A2:2005 Low-voltage switchgear and controlgear—Part3:Switches,disconnectors,switch-disconnectors and fuse-combination units | Except for： D.C. products of above 10A or above DC440V，A.C.Short- circuit current test of above 18kA， The short-time withstand current test of above 20kA,EMC. |  |
| 4 | Electromechanical contactors and motor-starters | Partial items | 0503 | GB14048.4-2003 IEC60947-4-1:2000,IDT Low-voltage switchgear and controlgear—Part4:Electromechanical contactors and motor-starters EN60947-4-1:2001 Low-voltage switchgear and controlgear—Part4:Electromechanical contactors and motor-starters | Except for: D.C. products of above 10A or above DC440V， Rated current above AC250A，EMC. |  |
| 5 | Control circuit devices and switching element—Electromechanical control circuit devices | Partial items | 0503 | GB14048.5-2008 IEC60947-5-1:2003,MOD Low-voltage switchgear and controlgear—Part5-1:Control circuit devices and switching element—Electromechanical control circuit devices EN60947-5-1:2004 Low-voltage switchgear and controlgear—Part5-1:Control circuit devices and switching element—Electromechanical control circuit devices | Except for： D.C. products of above 10A or above 440V; EMC; impact and vibration test for indicating tower ，Degree of protect above IP66, |  |
| 6 | Cotactors and motor-starters-AC semiconductor motor controllers and starters(including soft-starter) | Partial items | 0503 | GB14048.6-2008 IEC60947-4-2:2002:IDT Low-voltage switchgear and controlgear-part4-2: Cotactors and motor-starters-AC semiconductor motor controllers and starters(including soft-starter) | Except for： Voltage above AC 420V; Products′s Ie above 250A on analog load and Motor load Power above 2.2kW，EMC |  |
| 7 | Ancillary equipment-Terminal blocks for copper conductors | All items | 0503 | GB/T14048.7-2006 IEC60947-7-1:2002,MOD Low-voltage switchgear and controlgear-part7-1: Ancillary equipment-Terminal blocks for copper conductors |  |  |
| 8 | Ancillary equipment-protective conductor Terminal blocks for copper conductors | All items | 0503 | GB/T14048.8-2006 IEC60947-7-2:2002,MOD Low-voltage switchgear and controlgear-part7-1: Ancillary equipment-protective conductor Terminal blocks for copper conductors |  |  |
| 9 | Automatic transfer switching equipment | Partial items | 0503 | GB/T14048.11-2008 IEC60947-6-1:2005,MOD Low-voltage switchgear and controlgear—Part6-1:Multiple function equipment—Transfer switching equipment | Except for：D.C. products of above 10A or above 440V， A.C.Short- circuit current test of above 18kA，420V The short-time withstand current test of above 18kA ，EMC; Product with transfer on availability of alternate voltage or voltage- frequency. |  |
| 10 | Circuit-breakersfor overcurrent protection for household and similar installation | All items | 0503 | GB10963.1-2005 IEC60898-1:2002,IDT Electrical accessories —Circuit-breakersfor overcurrent protection for household and similar installation—Part1:Circuit-breakersfor a.c.operation EN60898-1:2003/ Electrical accessories —Circuit-breakersfor overcurrent protection for household and similar installation—Part1:Circuit-breakersfor a.c.operation | Except for：Short-circuit test of above 420V 18kA. |  |
| 11 | Residual current operated circuit-breakers without integral overcurrent protection for household and similar uses | Partial items | 0503 | GB16916.1-2003 IEC61008-1:1996, MOD Residual current operated circuit-breakers without integral overcurrent protection for household and similar uses（RCCB）—Part1:General rules GB16916.21-2008 IEC 61008-2-1-1990，IDT Residual current operated circuit –breakers without integral overcurrent protection for household and similar uses (RCCB)Part: 21: Applicability of the general rules to RCCB functionally independent of line voltage GB16916.22-2008: IEC 61008-2-2-1990，IDT Residual current operated circuit –breakers without integral overcurrent protection for household and similar uses (RCCB)Part: 22: Applicability of the general rules to RCCB functionally dependent on line voltage | Except for：AC Short-circuit test of above 420V 18kA and EMC. |  |
| 11 | Residual current operated circuit-breakers without integral overcurrent protection for household and similar uses | Partial items | 0503 | EN 61008-1-2004 AMD.11:2007 Residual current operated circuit-breakers without integral overcurrent protection for household and similar uses（RCCB）—Part1:General rules EN 61008-2-1-1994 A11:1998 Residual current operated circuit –breakers without integral overcurrent protection for household and similar uses (RCCB)Part: 21: Applicability of the general rules to RCCB functionally independent of line voltage EN 61008-2-2-1994 A11:1998 Residual current operated circuit –breakers without integral overcurrent protection for household and similar uses (RCCB)Part: 22: Applicability of the general rules to RCCB functionally dependent on line voltage | Except for：AC Short-circuit test of above 420V 18kA and EMC. |  |
| 12 | Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses | Partial items | 0503 | GB16917.1-2003: IEC61009-1:1996,MOD Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses(RCBO)—Part1:General rules GB16917.21-2008: IEC61009-2-1:1991,IDT Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses(RCBO) — Part: 21: Applicability of the general rules to RCBO functionally independent of line voltage GB16917.22-2008: IEC61009-2-2:1991,IDT Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses(RCBO)— Part: 22: Applicability of the general rules to RCBO functionally dependent on line voltage | Except for：AC Short-circuit test of above 420V 18kA and EMC. |  |
| 12 | Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses | Partial items | 0503 | EN 61009-1-2004 Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses(RCBO)—Part1:General rules EN 61009-2-1-1994 A11:1998 Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses(RCBO) — Part: 21: Applicability of the general rules to RCBO functionally independent of line voltage EN 61009-2-2-1994 A11:1998 Residual current operated circuit –breakers with integral overcurrent protection for household and similar uses(RCBO)— Part: 22: Applicability of the general rules to RCBO functionally dependent on line voltage | Except for：AC Short-circuit test of above 420V 18kA and EMC. |  |
| 13 | residual current operated protective devices | Partial items | 0503 | GB/Z6829-2008 General requirements for residual current operated protective devices | Except for：EMC. |  |
| 14 | Residual current operated protective relay | Partial items | 0503 | GB/T22387-2008 JB/T8756-2008 Residual current operated protective relay | Except for：AC Short-circuit test of above 420V 18kA and EMC |  |
| 15 | Circuit-breaker for equipment | Partial items | 0503 | GB17701-2008 IEC60934:2007,IDT Circuit-breaker for equipment EN 60934-2001 AMD.1:2007 Circuit-breaker for equipment | Except for：D.C. products; AC Short-circuit test of above 420V、18kA and EMC. |  |
| 16 | Electromechanical contactors | All items | 0503 | GB17885-2009 IEC61095:2000,MOD Electromechanical contactors for household and similar purposes |  |  |
| 17 | Low-voltage Distribution boards | All items | 0503 | GB7251.1-2005 Low-voltage switc- hgear and controlgear assemblies— Part 1: Type-tested and partially type -tested assemblies GB7251.3-2006 Low-voltage switchgear and controlgear assemblies— Part 3: Particular requirements for low-voltage switchgear and controlgear assemblies intended to be installed in places where unskilled persons have access for their use-Distribution boards | Except for：A.C.Short-circuit current test of above 420V,10kA,1s. |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

(No. CNAS L0503)

名称: 杭州中检电气研究院有限公司

地址：浙江省杭州市沈半路267号

签发日期：2010年08月12日         有效期至：2013年08月11日

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(No. CNAS L0503)

NAME: Hangzhou Sino-Test Electric Academe Co., Ltd.

ADDRESS：No.267, Shenban Road, Hangzhou, Zhejiang, China

Date of Issue: 2010-08-12                        Date of Expiry: 2013-08-11